## Sheet1
Enthalpy Calculator (From Tdb and RH)
Acceptable accuracy (>99%) between 25°F to 100°F Tdb
|  | °F | °C
| Dry bulb Tdb | 75 | 23.8889
| RH (%) | 55
| Enthalpy (btu/lb) | 29.1288
Wet-bulb Temperature Calculator (From Tdb and RH)
Acceptable accuracy (>97%) between 45°F to 150°F Tdb
|  | °F | °C
| Dry bulb Tdb | 75 | 23.8889
| RH (%) | 55
| Wet bulb Twb | 64.0101 | 17.7834
RH Calculator (From Tdb and Twb)
Acceptable accuracy (>97%) between 40°F to 275°F Tdb
|  | °F | °C
| Dry bulb temp | 75 | 23.8889
| Wet bulb temp | 64 | 17.7778
| Pressure (kPa) | 101.3239 | 1013.2388 | mbar
| es | 29.6338
| ew | 20.3392
| e | 16.1689
| RH (%) | 54.5624
Dew Point Temperature Calculator (From Tdb and RH)
Acceptable accuracy (>96%) between 40°F to 475°F Tdb & RH > 35%
|  | °F | °C
| Dry bulb Tdb | 75 | 23.8889
| RH (%) | 55
| Dew Point Tdp | 57.734 | 14.2967