## Sheet1
Fire Damper Pressure Loss Calculator
Air flow, Q (CFM) | 1000
Duct Width, W (mm) | 300
Duct Height, H (mm) | 300
% Free Area | 60%
Duct Free Area, A (ft2) | 0.58104
Air Velocity, VC (FPM) | 1032.6311
Pressure Drop, ΔP ("w.g.) | 0.081259